Allergen specific IgE (Type I hypersensitivity) Detection Methods

| Platform | Assay Type | Detection Target | Sensitivity | Specificity | Quantitative | Invasiveness | Time | Suitability |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Skin Prick Test (SPT) | In vivo | Immediate hypersensitivity | Moderate | Moderate | No | Skin exposure | 15-30 minutes | Limited (irritant potential and false positives) |
| Basophil Activation Test (BAT) | Ex Vivo | Basophil degranulation | High | High | Yes | Blood test | Same day | Limited use; technically demanding |
| Immunoassay Test (IAT) | In vitro | Anti-PEG IgE | Low to High | Low to High | Yes | Blood test | 1-2 days | Platform dependent |